### Basement Alteration Permit Submittal Guide

All work shall conform to the 2021 International Residential Code.

The following data is required for review of your plans or permit. Please utilize the checklist below before submitting an application:

Provide a scope of work explaining the project with all design details, specifications and plans for each construction discipline.

R305 – Confirm the minimum height of the finished basement to be at least 7’ with exemptions for under ducts or beams to a minimum of 6’4”.

R310 – Confirm all details for an emergency escape and rescue opening for each basement bedroom or sleeping area.

R310.6 – An emergency and rescue opening is not required where existing basements undergo alterations or repairs except when a sleeping room is created.

R302.11 – Provide a framing design with all construction details including fireblocking.

R314, R315, E3901 - Provide a design showing the location of all required electrical receptacles, switches, light fixtures, smoke detectors and carbon monoxide detectors or other devices.

G2427, M1505.2, R303.10 – Provide a plan showing the mechanical design with all details for ventilation for combustion air for the fuel burning appliances, the location of heating units or grills and the exterior termination location of all exhaust fan ducting.

Table N1102.1.2 – Provide a design to meet the minimum energy code requirements for R15 continuous or R19 cavity insulation for basement walls.

R313, P2904, NFPA 13D - Provide all details for any required sprinkler system alterations. Installation of new walls shall not diminish the minimum requirements for sprinkler head location or spray pattern. A professional may be required to address sprinkler work.

Provide any other details necessary to allow a complete building code compliance review for your project.

## Residential Emergency Escape Opening Permit Submittal Guide

All work shall meet the requirements of the 2021 International Residential Code

Please utilize the checklist below before submitting an application:

R106.1.1 - Provide a plot plan showing the location of the proposed building exit.

R106.1.1 - Provide a scope of work explaining the work to be performed with a cross sectional drawing showing all construction design details for the window and well installation.

R602.7[1] - Provide the exact sizing and connection details for the header supporting the structure above the new egress window or bulkhead opening.

R310 - Provide all design details and net window opening dimensions to confirm compliance for the proposed egress including square footage of the opening, minimum window height & width with maximum sill height above the floor.

R106.1.2 – Provide the manufacturer’s product information and model numbers with the installation instructions for the “egress window kit” to be installed including attachment to the primary structure or other details specified by the manufacturer.

R310-2.3.2 - Provide your design for drainage of the sump to daylight or to the foundation drainage piping of the home.

R310.4 – Provide the product and design if using a recessed window well including the accidental fall and weather protection covering over the well opening.

An escape opening under a deck or porch shall have a path to the yard or safety of at least 36 inches high.

R105.8 - It is the duty of every person who performs work for the installation or repair of building, structure, electrical, gas, mechanical, or plumbing systems for which this code is applicable to, comply with the code.

Rev: 2/21

APPLICATION FOR PLAN EXAMINATION AND BUILDING PERMIT

Provide certificates of insurance for ALL CONTRACTORS listed and PA Contractors License Numbers when applicable. Include PPL Job Number, provide descriptions of work on application and include telephone numbers. Follow APPLICANT INSTRUCTIONS.

APPLICANT INSTRUCTIONS: For all applications, complete Parts 1, 2, 3, 4 and 5 of this form. If electrical work, complete Part 6. If plumbing work, complete Part 7. If mechanical work, complete Part 8. For other permits (Grading Permits), complete Part 9.

Attach Site Plans and Project Narratives.

| Application Date: | Permit Type: Building | Electrical Mechanical | Plumbing Other (See item 9) | Is Owner the Applicant? Yes | No |
| --- | --- | --- | --- | --- | --- |
| / / |  |  |  |  |  |

- PROPERTY INFORMATION

| Street Address |  | Apt. # | Zip Code | PIN Number | Zoning District |
| --- | --- | --- | --- | --- | --- |
| Subdivision | Phase | Lot Number | Parcel Type Residential Industrial Commercial Other |  |  |

| First Name | Last name or Business Name |  | Phone/Email |  |
| --- | --- | --- | --- | --- |
| Street Address |  | City | State | Zip |

OWNER INFORMATION

- CONTRACTORS INFORMATION

SAME AS ABOVE

|  | NAME OF CONTRACTOR | STREET ADDRESS | CITY | STATE | PHONE NUMBER |
| --- | --- | --- | --- | --- | --- |
| Applicant (not owner) |  |  |  |  |  |
| Architect/Engineer |  |  |  |  |  |
| General Contractor |  |  |  |  |  |
| Excavation |  |  |  |  |  |
| Concrete |  |  |  |  |  |
| Carpentry |  |  |  |  |  |
| Electrical |  |  |  |  |  |
| Plumbing |  |  |  |  |  |
| Sewer |  |  |  |  |  |
| Mechanical |  |  |  |  |  |
| Drywall |  |  |  |  |  |
| Sprinkler |  |  |  |  |  |
| Paving |  |  |  |  |  |
| Fire Alarm |  |  |  |  |  |
| Other |  |  |  |  |  |

- CERTIFICATION

I hereby certify that I am the owner of record of the named property, or that the proposed work is authorized by the owner of record and that I have been authorized by the owner to make this application as his/her authorized agent and I agree to conform to all applicable laws of the responsible jurisdiction. In addition, if a permit for work described in this application is issued, I certify that the code official's authorized representative shall have the authority to enter areas covered by such permit at any reasonable hour to enforce the provisions of the code(s) applicable to such permit.

SIGNATURE OF APPLICANT	ADDRESS	PHONE/E-MAIL

RESPONSIBLE PERSON IN CHARGE OF WORK	TITLE	PHONE/E-MAIL

SIGNATURE OF PROPERTY OWNER (IF NOT APPLICANT)

Page 1

- BUILDING PERMIT APPLICATION

| Application For: New Building Addition Alteration Repair/Replacement Demolition Foundation Only Accessory Building Temporary Building Parking Lot Grading Only Electrical Plumbing Mechanical | Proposed Use: One Family Two Family Townhome Multi-Family Place of Assembly Business (Office) Educational Factory or Industrial Warehouse/Distribution Institutional High Hazard Mercantile (Store) |  | Construction Type: Structural Frame: Steel Masonry Concrete Wood Other Exterior Walls: Steel Masonry Concrete Wood Other | Structure Information: Int. Floorspace sq. ft. No. of Units # of Bedrooms # of Stories Building Height ft Gross Area * sq. ft. * Include basement, garage, porch and decks (1st and 2nd floor) Lot Sq. Ft. sq. ft. Bldg Sq. Ft. sq. ft. % Bldg Coverage sq. ft. Est. Start Date Est. Finish Date |
| --- | --- | --- | --- | --- |
| Detailed Description of Proposed Work: |  |  |  | Construction Cost $ PA ONE CALL # Date |

- ELECTRICAL PERMIT APPLICATION

| Electrical Work # of Circuits: PPL # |  | Yes 2 wire | No | 3 wire | 4 wire | Number of | Total Service: Service Outlets: |  | amps. 120 V 240 V |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Power Devices |  | No. | Output/Load |  | Power Devices |  | No. | Output/Load |
| 1 |  |  |  |  | 7 |  |  |  |  |
| 2 |  |  |  |  | 8 |  |  |  |  |
| 3 |  |  |  |  | 9 |  |  |  |  |
| 4 |  |  |  |  | 10 |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  | Total Number of Motors |  |  |  |  |
| Utility Service Revisions: Est. Start |  |  | Est. Finish |  |  | Electrical Work Est. Value | $ |  |  |

- PLUMBING PERMIT APPLICATION

| Plumbing Work |  | Yes No Enter the Number of Fixture Being Installed, Replaced or Repaired |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Tubs/Showers |  | Laundry Tubs |  | Sump Pumps |  | Inside Downspouts |  |  |  |  |
| Shower Stalls |  | Dishwashers |  | Grease Traps |  | Swimming Pools |  |  |  |  |
| Lavatories |  | Garbage Disposals |  | Bidets |  | Standpipes | No. of Outlets |  |  |  |
| Toilets |  | Drinking Fountains |  | Back Flow Preventers |  | Fire Sprinklers | No. of Heads |  |  |  |
| Urinals |  | Floor Drains |  | Water Pumps |  | Lawn Sprinklers | No. of Heads |  |  |  |
| Sinks |  | Water Softeners |  | Roof Openings |  |  |  |  |  |  |
| Water Heaters |  | Sewage Ejectors |  | Parking Lot Drains |  |  |  |  |  |  |
|  |  |  |  |  |  | Total Fixtures: |  |  |  |  |
| Public Water (Y/N) Utility Service Revisions: |  | Public Sewer (Y/N): Water Service Size (in.): |  |  |  | Water Meter Size (GPD): |  |  |  |  |
| Est. Start |  | Est. Finish Plumbing Work Est. Value |  |  |  | $ |  |  |  |  |

Page 2

$

Mechanical Work

Yes

No

Total Service:

amps.

Forced Air Furnace Unit Heater Gas/Oil Conversion Space Heater Gravity Furnace

Solid Fuel Appliance

Type of Heating Fuel (check one)

Gas Utility Service Revisions:

Enter the Number of New or Replacement Units Incinerator

Boiler/Water Heater Coil Unit

Window A/C Unit Split System A/C

A/C Compressor

Air Handling Unit Heat Pump

Air Cleaner

Kitchen Exhaust Hood Hazardous Exhaust System Electric Furnace

Electric

Coal

Wood

Other

Est. Start

Est. Finish

Mechanical Work

Est. Value

Oil

MECHANICAL PERMIT APPLICATION

- OTHER REQUIRED PERMIT APPLICATION(S)

| Permit Type: Description of Work: Est. Start | Est. Finish Est. Value |
| --- | --- |
|  | $ |

- FEES AND APPROVALS

| Approval: PLANNING | REVIEWER N/A | DENIAL | DATE | Fees: | Building Permit | $ $ $ $ $ $ $ $ $ 4.50 $ $ |
| --- | --- | --- | --- | --- | --- | --- |
| ZONING |  |  |  |  | Electrical Permit Plumbing Permit Mechanical Permit Plan Review Administration (25%) Re-Review Fee Re-Review Admin Fee PA Act 157 Fee Other Total |  |
| BUILDING |  |  |  |  |  |  |
| ELECTRIC |  |  |  |  |  |  |
| PLUMBING |  |  |  |  |  |  |
| MECHANICAL |  |  |  |  |  |  |
| FIRE |  |  |  |  |  |  |
| Sewer Allocation Fee: | $ - |  |  |  |  |  |
| Sewer Tapping Fee: | $ - |  |  |  |  |  |
| Other: | $ - |  |  |  |  |  |
|  | $ - |  |  |  |  |  |
| Approval Conditions: U.C.CONSTRUCTION TYPE: USE CLASSIFICATION: OCCUPANT LOAD: |  |  |  |  |  |  |
| PERMIT ISSUED BY: TITLE: DATE: If not picked up by the Applicant, Building Permit expires one-hundred and eighty (180) days after approval. |  |  |  |  |  |  |

Page 3

8330 Schantz Road

Breinigsville, PA 18031

p 610.395.4892

f 610.395.9355

UpperMac.org

# ** Important Notice to Property Owners **

The following items contain important information which you can	use to protect your property and wallet!

7.		Permits and inspections are required for all work completed under the Pennsylvania Uniform Construction Code (UCC) & Township Ordinance. This includes all structural, electrical, plumbing, HVAC and	other work. Inspections by our UCC certified inspectors are needed to ensure work being conducted on your property is safe and up to the minimum state & local standards.

- All work completed on a property is the ultimate legal responsibility of the property owner. Projects completed without permits & inspections, or without permits properly being closed out, can lead to enforcement & violation actions being taken against the property owner.

- The Township recommends that youwithhold final payment for the work completed on your property until you verify that a Certificate of Completion has been issued.

- Township staff is here to help! Please contact us directly with any questions or concerns about the permit process.

By signing below, you acknowledge reading this document and that youare giving permission for your contractor to submit permit applications on your behalf (if applicable):

Signature	Date

Address:

UPPER MACUNGIE TOWNSHIP

8330 SCHANTZ ROAD

BREINIGSVILLE, PA 18031

(610) 395-4892

To:	All Electricians/ Plumbers Re:	 Township Licensing

Upper Macungie Township requires all Electricians and Plumbers to have a license to engage in work in the Township. The fee due is $60 (Sixty Dollars) and the license expires on December 31st of the license year.

Please complete the application and return to the above address with legible copies of the following:

- Photo Identification (such as a driver's license)

- Current Electrical or Plumbing license from another jurisdiction

- Cash, check or money order for $60 payable to Upper Macungie Township

- Certificate of Insurance showing General Liability and Workers' Compensation coverage listing Upper Macungie Township as Certificate Holder or Certificate of Insurance and a notarized, original Workers' Compensation coverage exemption form / waiver for the license file only

##### For Annual License Renewals - Please complete the Application and remit with payment and Certificate of Insurance

###### Certificates of Insurance and exemption forms I waivers must be included with each application for permits.

Thank you,

Permit Department

UPPER MACUNGIE TOWNSHIP

8330 SCHANTZ ROAD

BREINIGSVILLE, PA 18031

(610) 395-4892	FAX (610) 395-9355

I hereby apply for a License to perform work in Upper Macungie Township

Check One:	 ELECTRICIAN	PLUMBER

EQUIPPED TO PERFORM SEWER LATERAL INSPECTION – Circle One- Yes or No

Contractor Name:

Company Name:

Company Address: 		 STREET ADDRESS

CITY	STATE	ZIP CODE

Company Phone:	_	Company Fax:

Email for Contact Person: _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _

Contractor Signature:		 Cell Phone:

Please have the following documents with you when you apply in person or mail legible copies to Upper Macungie Township

- Valid Driver's License or Photo ID

- A current Electrical or Plumber's License

- Certificate of Insurance showing General Liability and Workers' Compensation (with Upper Macungie Township listed as the Certificate Holder)

OR

- General Liability Coverage and notarized Workers' Compensation Coverage Exemption Form

- Check or money order made payable to "Upper Macungie Township" in the amount of $60

- For Annual License Renewals - Please complete the Application and remit with payment and Certificate of Insurance

IMPORTANTI

Please be sure to address all correspondence - Attention: LICENSING

UPPER MACUNGIE TOWNSHIP

8330 SCHANTZ ROAD

BREINIGSVILLE, PA 18031

(610) 395-4892	FAX (610) 395-9355

WORKERS' COMPENSATION INSURANCE COVERAGE CONTRACTORS IN ACCORDANCE WITH PA WORKERS' COMPENSATION REFORM ACT 44

Exemption:

Complete if the Applicant is a contractor claiming exemption from providing Worker Compensation Insurance.

The undersigned swears or affirms that he / she is not required to provide Workers' Compensation Insurance under the provisions of Pennsylvania's Workers' Compensation Law for one of the following reasons, as indicated:

o

Contractor with No Employees - Contractor prohibited by law from employing any individual to perform work pursuant to this building permit unless Contractor provides proof of insurance to Upper Macungie Township.

o

Religious Exemption under the Workers' Compensation Law.

Subscribed and sworn before me this

Print Company Name	  day of	20_

Print Applicant Name

Address

City, State, Zip Code

County / Municipality

Signature of Applicant

Signature of Notary Public

My Commission Expires:	_ (SEAL)

### UPPER MACUNGIE TOWNSHIP

8330 SCHANTZ ROAD

BREINIGSVILLE, PA 18031

(610) 395-4892	FAX (610) 395-9355

#### INSURANCE COVERAGE REQUIRED:

All Contractors performing work in Upper Macungie Township must have proof of insurance to include general liability and workers' compensation coverage.

If your policy does not include workers' compensation coverage, we will need the township's waiver form completed and notarized, the form can be notarized at Upper Macungie Township. You will need a valid form of Identification (such as driver's license). This form can be found in the licensing link on the website. This form should be included with your general liability certificate.

Upper Macungie Township must be listed as certificate holder. Please forward a copy of your certificate to:

Upper Macungie Township 8330 Schantz Road

Breinigsville, PA 18031

Fax to 610-395-9355

Email: Tantonelli@uppermac.org or Sharons@uppermac.org

If you have any questions, please contact me at 610-395-4892 Extension 125. Thank you,

Upper Macungie Township

### UPPER MACUNGIE TOWNSHIP

8330 SCHANTZ ROAD

BREINIGSVILLE, PA 18031

(610) 395-4892	FAX (610) 395-9355

#### WORKERS' COMPENSATION INSURANCE COVERAGE CONTRACTORS IN ACCORDANCE WITH PA WORKERS' COMPENSATION REFORM ACT 44

Exemption:

Complete if the Applicant is a contractor claiming exemption from providing Worker Compensation Insurance.

The undersigned swears or affirms that he / she is not required to provide Workers' Compensation Insurance under the provisions of Pennsylvania's Workers' Compensation Law for one of the following reasons, as indicated:

- Contractor with No Employees - Contractor prohibited by law from employing any individual to perform work pursuant to this building permit unless Contractor provides proof of insurance to Upper Macungie Township.

- Religious Exemption under the Workers' Compensation Law.

Print Company Name	Subscribed and sworn before me this

day of 	20

Print Applicant Name	Signature of Notary Public

My Commission Expires:

Address	(Seal)

City/State/Zip Code

County/Municipality

Signature of Applicant